2019 Greenhouse Experiments Data Preparation and Analyses
(aka, Clay’s trail of breadcrumbs through the forest...)
Clay Bliss

** Note: A summary of important dates and irrigation schedule can be found here:

Part 1: Data Preparation and Organization

1.1 Continuous time-series raw data files converted to 15-minute means data files.

Variables include: RH, air/soil temp, wind speed, PAR (both arduino and line-quantum), pyranometer, atmospheric pressure, scale weights, leaf temperature.

This was done separately for experiments 1 & 2, see these files (adapted from Sean’s “figures_and_stats_v1.R”):

Sean’s data (everything but scale weights and leaf temps):

first_summer_experiment/scripts/clay_R_scripts/data_prep/exp1_aggregate_raw_data_15min.R

second_fall_experiment/scripts/clay_R_scripts/data_prep/exp2_aggregate_raw_data_15min.R

Clay’s data (scale weights and leaf temps):

first_summer_experiment/scripts/clay_R_scripts/data_prep/scale_data_prep.R

first_summer_experiment/scripts/clay_R_scripts/data_prep/leaf_thermistor_data_prep.R

second_fall_experiment/scripts/clay_R_scripts/data_prep/scale_data_prep.R

second_fall_experiment/scripts/clay_R_scripts/data_prep/leaf_thermistor_data_prep.R

Some Notes:
Data quality flags are added in the leaf thermistor and scale data scripts
- For experiment 2, the treatment start/end times are defined at the top of script
- For experiment 2, the LED PAR contribution (225 umol/m2/s) is added to the PAR variables in this script
- TODO: For experiment 1, Sean needs to confirm that the wind sensor columns are properly assigned (both sensor height and treatments). Sean also should confirm whether his dataloggers were set to MDT or MST (I assumed MST and set the times back 1 hour in the above script, to make them match experiment 2 which was in MST).
- For experiment 1, no data for: sht_1_low_temp/rh, line_quantum_PAR

1.2 Combine all 15-minute means data (plus other derived variables) into one master, plant-level dataframe.

first_summer_experiment/scripts/clay_R_scripts/data_prep/exp1_combine_data_plant_level.R

second_fall_experiment/scripts/clay_R_scripts/data_prep/exp2_combine_data_plant_level.R

Some notes:
Poor quality (flagged) data are changed to NA values in these scripts before merging to other data, for leaf temperature and transpiration data.
- For experiment 2, derived variables include:
  - Soil water potential, calculated in this script:
    second_fall_experiment/scripts/clay_R_scripts/analysis/mass_balance/01_scale_mass_balance.R
  - Mean leaf temperature (across all available heights) and highest-available leaf temperature. Leaf thermistors were moved throughout the experiment (at the start of the experiment plants weren’t tall enough and towards the end, the lower leaves died). Having these derived variables are useful in modeling.
  - Transpiration (scaled to leaf area) and leaf area; see below for description/scripts used
  - VPD_air_low, VPD_air_high, VPD_leaf
  - Daily irrigation (“irrig”; L) given on previous evening/night, plus cummulative sums and cummulative mean irrigation (since planting).
- TODO: Add derived variables for experiment 1

Part 2: Data Analysis

2.1 Transpiration
- Raw transpiration (mg/s) was calculated for each plant , using 15-min mean scale weights and taking 1st-order differences. Any scale data that was flagged as likely to be poor quality, or was within 3 hours after irrigation, or had a gap other than 15-minutes was given a value of NA for transpiration.
- Transpiration was scaled to plant leaf area, using the mean plant leaf area for each block/treatment (calculated on a daily basis; see below), to obtain units of mg/m2/s.

2.2 Leaf Area (random forests and piecewise-linear regression)
- The basic idea was to use the leaf length and width from the harvested plants to build and validate a model predicting leaf area; and then use this on the non-harvest plant measurement data to predict leaf area.
- First, since the non-harvest measurements do not include leaf length (but include leaf width), I tuned a random forest model (10-fold cross-validation) to predict leaf length from leaf width (plus other variables). This resulted in a model with cross-validation RMSE = 8.05 cm, R2=0.85. The relative importance of predictors was: leaf_order_reverse (1), leaf_width_cm (0.84) and leaf_order (0.32). This performed significantly better than a linear model.
- Next, I used the predicted leaf lengths output from the above model, plus other variables, as input to a random forest to predict leaf area (again using 10-fold cross-validation). The resulting tuned model had cross-validation RMSE=48.1 cm2, R2=0.95. The relative importance of predictors was leaf_length_predicted (1), leaf_width (0.53), leaf_order_reverse (0.09). (A model fit using measured leaf widths, when available, performed no better than this.) After scaling these predicted leaf area to total plant leaf area and comparing to actual (measured) leaf area, and fitting a linear model, the R2=0.99, with slope = 1.01, indicating a near-perfect fit between measured and predicted total plant leaf area.
- The leaf length model random forest and, in turn, the leaf area random forest model, were used on to obtain estimated leaf area (for each leaf) on the non-harvest dataset. (Note: I used measured leaf lengths as input, when available (harvest data), and predicted leaf lengths when not (non-harvest data)).
- Finally, the the harvest and non-harvest data was pooled, and the mean plant leaf area (cm2) was calculated for each block and sampling date. Then, a piecewise-linear model was used (fitting a straight line between each of these points) to interpolate the mean plant leaf area (by block) for every day in the experiment. See result below. (For dates before any leaf measurements were taken, I simply extended flat lines back in time. You can see this in the virgin plants, W block, between 11/27 and 12/6).

2.3 Plant above-ground wet weight modeling.