2019 Greenhouse Experiments Data Preparation and Analyses
(aka, Clay’s trail of breadcrumbs through the forest...)
Clay Bliss

** Note: A summary of important dates and irrigation schedule can be found here:

Part 1: Data Preparation and Organization

1.1 Continuous time-series raw data files converted to 15-minute means data files.

Variables include: RH, air/soil temp, wind speed, PAR (both arduino and line-quantum), pyranometer, atmospheric pressure, scale weights, leaf temperature.

This was done separately for experiments 1 & 2, see these files (adapted from Sean’s “figures_and_stats_v1.R”):

Sean’s data (everything but scale weights and leaf temps):

first_summer_experiment/scripts/clay_R_scripts/data_prep/exp1_aggregate_raw_data_15min.R

second_fall_experiment/scripts/clay_R_scripts/data_prep/exp2_aggregate_raw_data_15min.R

Clay’s data (scale weights and leaf temps):

first_summer_experiment/scripts/clay_R_scripts/data_prep/scale_data_prep.R

first_summer_experiment/scripts/clay_R_scripts/data_prep/leaf_thermistor_data_prep.R

second_fall_experiment/scripts/clay_R_scripts/data_prep/scale_data_prep.R

second_fall_experiment/scripts/clay_R_scripts/data_prep/leaf_thermistor_data_prep.R

Some Notes:
Data quality flags are added in the leaf thermistor and scale data scripts
- For experiment 2, the treatment start/end times are defined at the top of script
- For experiment 2, the LED PAR contribution (225 umol/m2/s) is added to the PAR variables in this script
- TODO: For experiment 1, Sean needs to confirm that the wind sensor columns are properly assigned (both sensor height and treatments). Sean also should confirm whether his dataloggers were set to MDT or MST (I assumed MST and set the times back 1 hour in the above script, to make them match experiment 2 which was in MST). Also, the soil sensors need to be assigned to blocks/treatments.
- For experiment 1, no data for: sht_1_low_temp/rh, line_quantum_PAR

1.2 Combine all 15-minute means data (plus other derived variables) into one master, plant-level dataframe.

first_summer_experiment/scripts/clay_R_scripts/data_prep/exp1_combine_data_plant_level.R

second_fall_experiment/scripts/clay_R_scripts/data_prep/exp2_combine_data_plant_level.R

Some notes:
Poor quality (flagged) data are changed to NA values in these scripts before merging to other data, for leaf temperature and transpiration data.
- For experiment 2, derived variables include:
  - Soil water potential, calculated in this script:
    second_fall_experiment/scripts/clay_R_scripts/analysis/mass_balance/01_scale_mass_balance.R
  - Mean leaf temperature (across all available heights) and highest-available leaf temperature. Leaf thermistors were moved throughout the experiment (at the start of the experiment plants weren’t tall enough and towards the end, the lower leaves died). Having these derived variables are useful in modeling.
  - Transpiration (scaled to leaf area) and leaf area; see below for description/scripts used
  - VPD_air_low, VPD_air_high, VPD_leaf
  - Daily irrigation (“irrig”; L) given on previous evening/night, plus cummulative sums and cummulative mean irrigation (since planting).
- TODO: Add derived variables for experiment 1

QA/QC Notes
- Experiment 1
  - par1/par2 track closely, but par1_n is much noisier data. pyr1/pyr2 track closely. All 4 variables have several values < 0 but only at night; otherwise data look ok.
  - Air temp: am2320 and sht2_low track very closely. The temp sensor in the datalogger box (bmp_box_temp) tracks the other 2 reasonably well, but is consistently hotter. All data look ok.
  - RH (both sensors) looks reasonable and track together, but notably higher values and larger diurnal swings than in experiment 2. I’m guessing this is because we didn’t use box fans in the 1st experiment? Also, the upper sensor (am2320_high) generally reads a bit lower than the lower sensor (sht2_low), which makes sense since the lower one was in the canopy (I believe) and the upper was above the canopy.
  - Soil temp: I omitted some obvious outliers from the raw data, values < 10 or > 60 deg C, before aggregating.
- Experiment 2
  - par2_s had lots of very noisy data, looked bad. So I omitted it from the master (plant-level) merged dataframe. TODO: Check this, did I really remove? Maybe just make a note and leave data in.

Part 2: Data Analysis

2.1 Transpiration

second_fall_experiment/scripts/clay_R_scripts/analysis/model_transpiration/scale_transpiration_calculation.R

- Raw transpiration (mg/s) was calculated for each plant , using 15-min mean scale weights and taking 1st-order differences. Any scale data that was flagged as likely to be poor quality, or was within 3 hours after irrigation, or had a gap other than 15-minutes was given a value of NA for transpiration.
- Transpiration was scaled to plant leaf area, using the mean plant leaf area for each block/treatment (calculated on a daily basis; see below), to obtain units of mg/m2/s.

2.2 Leaf Area (random forests and piecewise-linear regression)

second_fall_experiment/scripts/clay_R_scripts/analysis/model_leaf_area/01_model_leaf_area.R

- The basic idea was to use the leaf length and width from the harvested plants to build and validate a model predicting leaf area; and then use this on the non-harvest plant measurement data to predict leaf area.
- First, since the non-harvest measurements do not include leaf length (but include leaf width), I tuned a random forest model (10-fold cross-validation) to predict leaf length from leaf width (plus other variables). This resulted in a model with cross-validation RMSE = 8.05 cm, R2=0.85. The relative importance of predictors was: leaf_order_reverse (1), leaf_width_cm (0.84) and leaf_order (0.32). This performed significantly better than a linear model.
- Next, I used the predicted leaf lengths output from the above model, plus other variables, as input to a random forest to predict leaf area (again using 10-fold cross-validation). The resulting tuned model had cross-validation RMSE=48.1 cm2, R2=0.95. The relative importance of predictors was leaf_length_predicted (1), leaf_width (0.53), leaf_order_reverse (0.09). (A model fit using measured leaf widths, when available, performed no better than this.) After scaling these predicted leaf area to total plant leaf area and comparing to actual (measured) leaf area, and fitting a linear model, the R2=0.99, with slope = 1.01, indicating a near-perfect fit between measured and predicted total plant leaf area.
- The leaf length model random forest and, in turn, the leaf area random forest model, were used on to obtain estimated leaf area (for each leaf) on the non-harvest dataset. (Note: I used measured leaf lengths as input, when available (harvest data), and predicted leaf lengths when not (non-harvest data)).
- Finally, the the harvest and non-harvest data was pooled, and the mean plant leaf area (cm2) was calculated for each block and sampling date. Then, a piecewise-linear model was used (fitting a straight line between each of these points) to interpolate the mean plant leaf area (by block) for every day in the experiment. See result below. (For dates before any leaf measurements were taken, I simply extended flat lines back in time. You can see this in the virgin plants, W block, between 11/27 and 12/6).

2.3 Plant above-ground wet weight modeling

second_fall_experiment/scripts/clay_R_scripts/analysis/mass_balance/01_scale_mass_balance.R

First, I fit a linear model to the final (12/12) harvest data, to predict plant wet weights (n=16) using dry weight and block. The R2=0.94 and RMSE=19.4 g. The model was much better than a linear model using only dry weight as the predictor (R2=0.45).

lm(formula = wet_weight_g ~ dry_weight_g + block, data = bm3)

Residuals:
    Min 1Q Median 3Q Max
-31.591 -18.685 -2.058 14.484 35.708

Coefficients:
        Estimate Std. Error t value Pr(>|t|)
(Intercept) -105.9375 61.1390 -1.733 0.111
dry_weight_g 3.4450 0.3498 9.848 8.61e-07 ***
blockM 107.2533 17.6505 6.076 8.00e-05 ***
blockV 17.9153 16.9867 1.055 0.314
blockW 156.0652 17.1523 9.099 1.88e-06 ***
---
Signif. codes: 0 ‘***’ 0.001 ‘**’ 0.01 ‘*’ 0.05 ‘.’ 0.1 ‘ ’ 1

Residual standard error: 23.99 on 11 degrees of freedom
Multiple R-squared: 0.9548, Adjusted R-squared: 0.9384
F-statistic: 58.13 on 4 and 11 DF, p-value: 2.498e-07
- Next, I used the above model to estimate wet weights for the harvested plants on the 2 previous harvest dates (10/30, 11/15). Then, I combined these estimates with the actual measured wet weights (12/12) and added an observation of weight zero at time zero (the date seed were planted, on 9/9) for each plant. I then fit a logistic curve separately to each block’s wet weight data over the course of the experiment (for the virgin plants, there was only 1 harvest on 12/12 so I simply fit a line between zero starting weight and the mean ending weights).
- I used the open-source app “Enguage Digitizer” to extract the data points from the vanBavel et al. Water release curve, and then fit a curve to the points (in R) using a loess smoother.
- Next I calculated the soil wet weight for each of the 12 plants on scales, at 15 minute intervals, by subtracting from the scale weights the weight of soil sensors and the pot itself, and the plant wet weight (daily mean weights by block, calculated as above).
- I then (for each plant) calculated the saturated (field capacity) soil wet weights, using the most-recent available scale data before drought treatments began, after pots were fully irrigated but drained (on 10/22 at 02:00). These saturated wet weights were used to estimate the dry weight (and volume) of the soil, by assuming a water content of 0.45 at saturation (per vanBavel for containers of similar size), and a bulk density of 0.65 (per Garret’s measurements). The calculation was:
  - Dry soil mass = Saturated soil mass / (1 + 0.45/0.65)
  - Dry soil volume = Dry soil mass / 0.65
- Next I calculated the volumetric water content for each pot every 15 minutes as:
  - WC = (Current soil wet weight, time ‘t’ - Dry soil weight) / dry soil volume
  - Note: the numerator is simply the weight (or volume) of water in the soil at time ‘t’
- Finally, I converted soil water content to water potential using the loess model fit to the vanBavel water-release curve (see above).
- Note: for the virgin plants, I used the same procedure as above, but the saturated soil weights were calculated using the pot wet weights on 11/28 02:00.