Clayton Bliss
Gleason Greenhouse Experiment, Fall-Winter 2019
Scale Data Processing/Cleaning Procedure
Last Update: 1/16/2019

** NOTE: ‘todo’ denotes this needs to be filled in.

General Steps:

1. Separate csv files into 2 groups: Files to use in analysis (non-overlapping time periods), and files to not use in analysis (files with data that is redundant; i.e. it is duplicated in the non-overlapping files).
2. Use R script, todo, to compile all csv files to use in analysis into a single csv file of raw data. This script also handles does some minimal processing, including the following. It adjusts the timestamps of some files to correct for the transition between MDT and MST (All data should’ve been originally recorded using MST, regardless of current actual date, but but some mistakes were made).

Scale Data Anomaly Notes:

9-30. Checked all 3 irrigation lines, watered all pots for 5 minutes at around 12:00. Omit all data after 12:00 to be safe.

10-01. Replaced middle irrigation line, and watered plants in M block at approx. 10:00. Omit data from M block after 10:00 today.

10-21. Added some soil to a couple pots on scales (didn’t record time or scale numbers!) Auto-flagged w/thresholds 0.03-0.05

10-21 and 10-22. Covered pots with plastic wrap (didn’t record times). Do we want to use scale data before this? (Maybe just to check and see how different the transpiration estimates are before/after?)

10-23. Checked and re-balanced all scales. The eastern Rpi (wet and moderate treatments) had frozen and stopped logging at ca 14:30 yesterday and the clock was off. Auto-flagged w/thresholds 0.03-0.05

10-28. Pulled leaf from plant W-6 (on scale) since it was preventing plastic wrap from sealing.

11-6. Measured leaves of plants on scales (see spreadsheet for times). Auto-flagged w/thresholds 0.03-0.05

11-8. Accidentally zeroed scale 5 (plant M-6). I reset the weight about 5 minutes later (by taking pot off scale and re-zeroing). Did not record time but it was probably before 14:00, since later greenhouse notes on same day were at 14:00. ** Note: I wrote scale 5 but this could be scale 2 after looking at the data… (?) Auto-flagged w/thresholds 0.03-0.05

11-8. Added 2 scales for Maria’s plants: Scale 15 = pot W-3; Scale 16 = pot D-1.

11-18. ca. 09:30, noticed that Sean’s wind sensor Arduino had fallen onto the pots M-7 and M-11. Not sure what day or time this occurred but it was likely over the weekend (including Friday) between 11-15 and 11-18. Auto-flagged w/thresholds 0.03-0.05

11-27. Replaced W block plants with virgin plants, ca. 14:20 – 16:20. The scales were logging during the switch. Note: Maria switched her plant on scale 16 today to D-13. This plant is now getting fully-watered (15 minutes), whereas other plants in block D are fully droughted (2 minutes), so be sure NOT to group these together in our analyses!
**NOTE: Scale 2 has something funky going on, I think I might have swapped 1 virgin plant and then decided to put a different one on the scale later. Auto-flagged w/thresholds 0.03-0.05

MARIA’S SCALE NOTES:
According to my notes this is what I have:
Changed plants on scale 16: 11/18; 11/27; 12/2.
For scale 15 I ended up not connecting the gauge so I did not take very detailed notes, but I changed the plant only once and I am almost sure it was on 11/27.
I did not recorded the plant ID written on the pots.

Other activities that may have affected scale data:
1. Checking thermistors (see data gaps)
2. Measuring plants
3. Pressure bomb measurements (12/11 and 12/12 only)

Thermistor Data Notes:

1. Logging interval was 30 seconds prior to 11/11, and 60 seconds starting on and after 11/11.

2. At start of experiment, on each “treated” plant, one thermistor was placed at lowest wind sensor position, and one at the mid-canopy wind sensor positon (NOT at the highest wind sensor position, since the plants were not this tall yet). See “notes” spreadsheet (and greenhouse logbook) for notes on when the thermistor positions were changed within each treatment, as plants grew taller.

3. Plants in W block were switched out with virgin plants on 11/27, ca. 14:20-16:20. (But I did not log thermistor data during this time.)

Thermistor Data Anomalies:

11-6. Moved thermistors in W block to upper-canopy position (they were at mid-canopy position).

11-11. Changed logging interval from 30 seconds to 60 seconds.

11-13. D-7 upper thermistor had fallen off, replaced it (time not recorded but maybe it was when I was downloading data and checking thermistors?)

11-22. Checked thermistors; M-10 lower was covered by tape, I uncovered it.